## Slide 1: Single-Moded TES Detector Technologies for CMB Polarimetry
Jason Austermann – NIST-Boulder
(on behalf of the community)
B-Modes From Space II
4--6 Dec 2017

## Slide 2: Single-Moded TES Detector Technologies for CMB Polarimetry
“single-moded” – EM propagation mode, NOT related to B-”modes”

## Slide 3: Single-Moded TES Detector Technologies for CMB Polarimetry
“single-moded” – EM propagation mode, NOT related to B-”modes”
TES – Transition Edge Sensor (bolometer)

## Slide 4: CMB Measurements are Difficult
Figure Credit: Lyman Page

## Slide 5: CMB Measurements are Difficult
Fundamental Challenges
Low S/N Target
Figure Credit: Lyman Page

## Slide 6: CMB Measurements are Difficult
Fundamental Challenges
Low S/N Target
Millimeter Wave
COBE CMB Spectrum

## Slide 7: CMB Measurements are Difficult
Fundamental Challenges
Low S/N Target
Millimeter Wave – new tech
Low-loss Filtering
230 GHz
150 GHz
Low-loss Optical Coupling
Electronics & Readout

## Slide 8: CMB Measurements are Difficult
Good observing weather at typical Ground-Based CMB site
Fundamental Challenges
Low S/N Target
Millimeter Wave
Other Sources of Emission

## Slide 9: CMB Measurements are Difficult
Fundamental Challenges
Low S/N Target
Millimeter Wave
Other Sources of Emission
Planck X (2015)

## Slide 10: CMB Measurements are Difficult
Figure Credit: Lyman Page
Fundamental Challenges
Low S/N Target
Millimeter Wave
Other Sources of Emission
Dynamic Range - Systematics

## Slide 11: CMB Measurements are Difficult
ACTPol E-Mode w/ vs w/o 1-degree polarization rotation
Map credit: Blake Sherwin
Fundamental Challenges
Low S/N Target
Millimeter Wave
Other Sources of Emission
Dynamic Range - Systematics
(Animation in slide show)

## Slide 12: CMB Measurements are Difficult
Fundamental Challenges
Low S/N Target
Millimeter Wave
Other Sources of Emission
Dynamic Range -- Systematics
Competition…
SPT (fore); BICEP/KECK (back)
Simons Array (fore); ACT (back)

## Slide 13: CMB Measurements are Difficult
Fundamental Challenges
Low S/N Target
Other Sources of Emission
Millimeter Wave
Dynamic Range -- Systematics
Competition!

## Slide 14: Observation Time
How long will it take to detect primordial B-Modes?
tobs = (
Assume r ~ 0.07 (current upper limit)
Map ~ 1% of the sky to a depth of 7 K-arcmin
How long will it take to detect primordial B-Modes?
Assume r ~ 0.07 (current upper limit)

## Slide 15: Observation Time
Single Noiseless Detector
Single Mode Coupling ~ 10 K = 1 tobs ~ 1 month
Single Noiseless Detector
How long will it take to detect primordial B-Modes?
tobs = (
Assume r ~ 0.07 (current upper limit)
Map ~ 1% of the sky to a depth of 7 K-arcmin
How long will it take to detect primordial B-Modes?
Assume r ~ 0.07 (current upper limit)

## Slide 16: Observation Time
Single Noiseless Detector
Single Mode Coupling ~ 10 K = 1 tobs ~ 1 month
Single Noiseless Detector
…but realistic factors
Imperfect Receiver (~50% photons) Only partially coupled to sky (e.g. cold stop) Emission from optical elements Atmosphere atten./emission (ground-based) Scan strategy (e.g. telescope turnarounds lost) Cryogenic cycling Data Quality cuts Much, much more….
How long will it take to detect primordial B-Modes?
tobs = (
Assume r ~ 0.07 (current upper limit)
Map ~ 1% of the sky to a depth of 7 K-arcmin
How long will it take to detect primordial B-Modes?
Assume r ~ 0.07 (current upper limit)

## Slide 17: Observation Time
Single Noiseless Noisy Detector
Single Mode Coupling ~ 10 K  300 K = 1  ~ 0.2 tobs ~ 1 month  ~ 400 years!
Single Noiseless Noisy Detector
…but realistic factors
Imperfect Receiver (~50% photons) Only partially coupled to sky (e.g. cold stop) Emission etc. from optical elements Atmosphere atten./emission (ground-based) Scan strategy (e.g. telescope turnarounds lost) Cryogenic cycling Data Quality cuts Readout noise, losses, etc Much, much more….
How long will it take to detect primordial B-Modes?
tobs = (
Assume r ~ 0.07 (current upper limit)
Map ~ 1% of the sky to a depth of 7 K-arcmin
How long will it take to detect primordial B-Modes?
Assume r ~ 0.07 (current upper limit)

## Slide 18
Gen 0: Pre-TES
O(10) detectors
e.g. ACBAR, Planck
(Example) History of TES-based Array Complexity

## Slide 19
Gen 0: Pre-TES
O(10) detectors
e.g. ACBAR, Planck
ACBAR
PLANCK
A (Biased) History of TES-based Array Complexity

## Slide 20
Gen 0: Pre-TES
O(10) detectors
e.g. ACBAR, Planck
Detectors ~ background limited (from ground), so increase sensitivity by:
ACBAR
PLANCK
A (Biased) History of TES-based Array Complexity

## Slide 21
Gen 0: Pre-TES
O(10) detectors
e.g. ACBAR, Planck
Gen 1: TES Arrays
102 – 103 detectors
e.g. SPT-SZ, MBAC
Detectors ~ background limited (from ground), so increase sensitivity by:
More Detectors
SPT-SZ
ACT-MBAC
Multiplexed Readout  Large Arrays
A (Biased) History of TES-based Array Complexity

## Slide 22
Gen 0: Pre-TES
O(10) detectors
e.g. ACBAR, Planck
Gen 1: TES Arrays
102 – 103 detectors
e.g. SPT-SZ, MBAC
Detectors ~ background limited (from ground), so increase sensitivity by:
More Detectors
Added Capabilities e.g. (polarization, systematic control)
e.g. SPTpol, ACTPol, Polarbear, BICEP/KECK
Gen 2: Polarization
O(103) + polarization
ACTPol
A (Biased) History of TES-based Array Complexity

## Slide 23
Gen 0: Pre-TES
O(10) detectors
e.g. ACBAR, Planck
Gen 1: TES Arrays
102 – 103 detectors
e.g. SPT-SZ, MBAC
Detectors ~ background limited (from ground), so increase sensitivity by:
More Detectors
Added Capabilities e.g. (polarization, systematic control)
More Bandwidth / Multi-chroic
e.g. SPTpol, ACTPol, Polarbear, BICEP/KECK
Gen 2: Polarization
O(103) + polarization
Gen 3: multi-chroic
O(104) + multi-chroic
e.g. SPT-3G, Advanced ACTPol, Simons Array
A (Biased) History of TES-based Array Complexity

## Slide 24: Optical Coupling Scheme drives Pixel Design
Feedhorn Coupled Waveguide
Phased Arrays
Hemispherical Lenslets
Metamaterial Lenslets
Advantages and Disadvantages to each

## Slide 25: Optical Coupling Scheme drives Pixel Design
Chuss et al. JLTP (2012) 167:923-928
CLASS 40 GHz Array
NASA, Goddard feed-coupled detector
Feedhorn Coupled Waveguide
Phased Arrays
Hemispherical Lenslets
Metamaterial Lenslets

## Slide 26: Optical Coupling Scheme drives Pixel Design
150 mm Wafer
LF
MF
HF
Spider
NIST-Boulder
Feedhorn Coupled Waveguide
Phased Arrays
Hemispherical Lenslets
Metamaterial Lenslets

## Slide 27: Optical Coupling Scheme drives Pixel Design
Caltech/JPL
TES
Feedhorn Coupled Waveguide
Phased Arrays
Hemispherical Lenslets
Metamaterial Lenslets

## Slide 28: Optical Coupling Scheme drives Pixel Design
UC-Berkeley, Chicago, ANL
Feedhorn Coupled Waveguide
Phased Arrays
Hemispherical Lenslets
Metamaterial Lenslets

## Slide 29: Optical Coupling Scheme drives Pixel Design
Feedhorn Coupled Waveguide
Phased Arrays
Hemispherical Lenslets
Metamaterial Lenslets (planar lenslet)
Gradient Index Lenslet (GRIN)
Metal Mesh Metamaterial Lenslet
Nils Halverson and collaborators

## Slide 30: Multi-chroic Diminishing Returns
Datta et al 2014
Mapping speed vs pixel size for
fixed focal plane size

## Slide 31: A Better Multi-chroic? Hierarchical phased array
Near Optimal Mapping Speed for all Bands
Cukierman et al. 2017
UCB / LBNL
Antennae are coupled using Spherical Lenslets

## Slide 32: Detector Fabrication Developments
150 mm diameter wafers
150 mm Wafer

## Slide 33: Detector Fabrication Developments
150 mm diameter wafers
Uniformity
2mK
140 mK
Temperature (mK)
Normalized Resistance
TES BIAS CURRENT
Resistance (Ohms)
Array wide Electro-thermal uniformity
Tc Uniformity Across Array
Bandpass Uniformity
(varying wafers)

## Slide 34: Detector Fabrication Developments
150 mm diameter wafers
Uniformity
Material Development
 | Stoichiometry | Compressive stress [MPa] | Loss tangent
ACTPol SiOx | Si-rich | 150 | 2.0e-3
Advanced ACTPol SiNx | stoichiometric | 4 | 7.8e-4
e.g. Tunable TES materials
Dielectric Improvements – Low Loss

## Slide 35: Detector Fabrication Developments
150 mm diameter wafers
Uniformity
Material Development
Simplicity

## Slide 36: Detector Fabrication Developments
150 mm diameter wafers
Uniformity
Material Development
Simplicity
Yield
- No longer need to make (N >> 1) wafers to yield 1 good one

## Slide 37: Assembly is increasingly difficult
Advanced ACTPol
TDM
SPT-3G/Polarbear2
MHz FDM
Co-planar
3D
Not an option for tiled focal plane
Exists/proven
Complicated
lots of connections

## Slide 38: Assembly / Readout
Advanced ACTPol
TDM
SPT-3G/Polarbear2
MHz FDM
Notional mSQUID
Also, e.g. BICEP3
Co-planar
3D
2D backside
Integrated fab
Integrated TES
MKID/LEKID
TES: Prototypes only
MKIDs: ?
Obviously a no-go for tiled arrays
Exists/proven
Complicated
lots of connections
Requires smaller readout components (mSQUID) or low detector density
Space constraints and/or unproven

## Slide 39: Conclusion
Mature
  Wide-bandwidth, single-moded TES solutions very mature for ground/balloon missions
  Collaborations pushing to space readiness, e.g. Litebird
Still active and improving
  development continues in all areas (optical coupling, sensitivity, readout, fabrication, assembly)

## Slide 40: end