## Slide 1: Gadolinium Doped Water Cherenkov Detectors
Andrew Renshaw for the
Super-Kamiokande Collaboration
NNN 2013: Tuesday Nov. 12th, 2013

## Slide 2: Physics Achievements with Super-Kamiokande
Atmospheric n oscillations
Solar n oscillations
K2K confirmed atmospheric osc.
by long baseline n
q13 by T2K
(indication)
Tau-n appearance in atmospheric n
night
day
ADN=-3.2±1.1±0.5 %
Solar day/night asymmetry
q13 by T2K
(observation)
96 | 97 | 98 | 99 | 00 | 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13
Super-K is approaching 20 years old!!!!!

## Slide 3: GADZOOKS!
~90% or more of the time
n+Gd→~8MeV γ
ΔT = ~30 μsec
With 0.1% Gd Loading
[Beacom and Vagins, Phys. Rev. Lett., 93:171101, 2004]
n+H→2.2 MeV γ
ΔT = ~200 μsec
Currently n captures on H
Captures on Gd
Gd in Water
100%
80%
60%
40%
20%
0%
0.0001%
0.001%
0.01%
0.1%
1%
0.1% Gd gives ~90% efficiency for n capture
In Super-K this means ~100 tons of water soluble Gd2(SO4)3
ne
e+
p
n
g
g
p
Gd

## Slide 4: SRN Signal In GADZOOKS!
Assuming
Capture efficiency of 90% and Gd gamma detection efficiency of 74%.
Invisible muon B.G. is 35% of the SK-IV invisible muon BG.
Expect number of events in 10 years in
Etotal =10-30 MeV
13~16 ev.
26~34 ev.
33~45 ev.
12~16 ev.
Min/nominal/Max are due to uncertainties in astronomy.
Background: ~18 ev.
[M. Nakahata]
[SRN flux from Horiuchi et al. PRD, 79, 083013 (2009)]

## Slide 5: Galactic Supernova Burst
Neutrino flux and energy spectrum from Livermore simulation
[T.Totani, K.Sato, H.E.Dalhed and J.R.Wilson, ApJ. 496, 216 (1998)]
for 10 kpc supernova
~7,300 ne+p events
~300 n+e events
~100 ne+16O events
(-)
Allows the exact ne flux, energy spectrum, and time profile to be determined via the extraction of a tagged, pure sample of inverse beta events.
Instantly identifies a burst as genuine via “Gd heartbeat”.
Doubles the ES pointing accuracy. Error circle cut by 75%.
Helps to identify the other neutrino signals, especially the weak neutronization burst of ne.
Enables a search for very late time black hole formation.
Provides for very early warning of the most spectacular, nearby explosions so we can be sure not to miss them.

## Slide 6: Reactor Antineutrinos in GADZOOKS!
unoscillated spectrum
from Monte Carlo
~1000 or more reactor neutrinos per year
One year MC study assuming ∆m2 = 8E-5 and sin^2(2θ) = .86 [K. Bays]
Positron spectrum from one year of Monte Carlo oscillated

## Slide 7: Reactor Antineutrinos in GADZOOKS!
~5 years of GADZOOKS!
(by itself)
95% C.L. by K. Bays
Regardless of what Japan’s nuclear future holds, we will surely look for (and measure) a reactor signal in GADZOOKS!
After all, it defines the lower end of the DSNB energy window.
The signal from (South?) Korea alone will provide an event rate in SK similar to KamLAND’s when all Japanese reactors were on.
[M. Vagins]

## Slide 8: Other Added Benfits
Solar neutrino background reduction and spallation cut improvement, reduce deadtime
Better study of hadronic final states in atmospheric/accelerator neutrino events, help identify (anti)neutrino and interactions
Neutrino-neutron elastic scattering will be a significant new NC channel in accelerator studiesaccelerator neutrino flux
Atmospheric neutrino background reduction for proton decay analysis (no n in final state), and aid in bound-nucleon decay w/ ejected neutron
Preliminary MC studies show little to no impact on current physics analyses

## Slide 9: Gd Inside SK
2.4L vessel
2007: 0.2 % GdCl3
α+ 9Be→12C*+n
12C*→12C+ γ(4.4 MeV)
n+p →…… →n +Gd→Gd+ γ
BGO signal (prompt signal
(large and long time pulse))
Look for Cherenkov signal (delayed signal)
BGO
(Am/Be Source)
[SK Collab, Astropart. Phys. 31,
320-328 (2009)]
2010: 0.2% Gd2(SO4)3
Solution

## Slide 10: Pushing The Gd Front
Many studies have been ongoing in both the US and Japan over the last 10 years
EGADS (Evaluating Gadolinium’s Action on Detector Systems)
  New dedicated, multi-million dollar test facility
  Kamioka mine (near SK)
  Will address all issues of the GADZOOKS! principle.
Selective water+Gd filtration system
Pre-treatment system
Gd Removal System
200 ton water tank
(SUS304)
Water transparency measurement device
240 50 cm PMTs
[Graphic by A. Kibayashi]

## Slide 11: The EGADS Lab
200 ton tank
Selective filtration system
Gd resin removal system
15 m3 tank and pre-treat system
Water transparency measurement device

## Slide 12: Challenges Faced
Compound to be used
Effects on detector components
Introduction and removal
Introduction of new backgrounds for new and existing analysis
Keep Gd inside the SK tank
Maintaining ultrapure doped water
Effect on water transparency

## Slide 13: Which Compound To Use
Three choices investigated thus far:
  Gd(NO3)3
    Easily dissolved
    Nitrate opaque in the UV (very bad for Cherenkov light)
  GdCl3
    Easily dissolved
    Chloride highly corrosive (not good for components)
  Gd2(SO4)3
    Octahydrate form dissolves easily
    Good water transparency
Gadolinium sulfate is the compound being tested at EGADS

## Slide 14: Materials Effects
31 materials present in the SK tank have been long-term soak tested in Gd2(SO4)3 solution to check for corrosion.
Only affected material is a rubber used for the FRP/acrylic cases.
Further studies with this rubber show the effect is comparable to pure water if temperature is kept below 15 ̊C.
Final soak study of SK materials will be done with components installed inside EGADS detector

## Slide 15: Gd Pre-Treatment System
  Gd2(SO4)3 is soluble up to 2% by mass
15 m3 tank to dissolve Gd
Make concentrated solution and then add to detector in steps
Simple water system with uranium removing resin tanks

## Slide 16: Selective Water Filtration
200 ton EGADS
Detector
5 m
1st Stage
Filter
Concentrated Gd NF Reject Lines
UV
#1
Membrane
Degas
0.2 m
2nd Stage Filter
0.5 ton Collection Buffer Tank
Nanofilter #2
Nanofilter #1
Ultrafilter #1
Repressur- ization
Pump
(>0.9 MPa, >2 ton/hr)
TOC
5 m
Filter
0.5 ton Buffer Tank
RO #1
Ultrafilter #1
Ultrafilter #2
Repressurization
Pump
(>0.9 MPa, >1.5 ton/hr)
DI
#2
5 m
Filter
RO #2
RO Permeate Lines
Conveying
Pump
(~0.35 MPa,
>4 ton/hr)
Recycles RO Reject Lines
Chiller
UF#1 Reject Line
UF#2
Reject
UV
#2
DI
#1
To Drain
Nanofilter #1
Nanofilter #1
Nanofilter #1
Nanofilter #2
Nanofilter #2
Ultrafilter #2
AJ
Gd is diverted here and bypasses Deionization (DI)
99.99% Gd recovered each pass, <0.006% lost

## Slide 17: Water Transparency Monitoring
Precision measurements of attenuation lengths >100 m
Monitor relevant Cherenkov region using multiple
lasers
Devices fully automated, running is rather simple and quick
~0.1% Gd2(SO4)3 solution
Log(Ch.B/Ch.A)
Water column depth

## Slide 18: EGADS Tests
Pure water in 200 ton tank (no PMTs)
Gd water in 15 m3 tank
Gd water in 200 ton tank (no PMTs)
Pure water in 200 ton detector (with PMTs)
  Ongoing now
Gd water in 200 ton detector (with PMTs)
✓
✓
✓

## Slide 19: EGADS 200 Ton Tank Gd-Water Transparency
SK-III and SK-IV Ultrapure Water = 74.7% - 82.1% @ 15 m
30 kg of Gd2(SO4)3*8H2O (0.015%)  35% n capture on Gd
60 kg (0.03%)  52% n capture on Gd
89.4 kg (0.045%)  62% on Gd
149.4 (0.075%)  73% on Gd
274 kg (0.138%)  83% on Gd
400 kg (0.2%)  88% on Gd
The light left at 15 m in the 200m3 tank stainless steel) was ~69% for 0.2% Gd2(SO4)3, which corresponds to ~84% of pure water.

## Slide 20: Radioactive Backgrounds

## Slide 21: Gd Removal
Method 1: Ion exchange resin
Method 2: Removal system and filtering
Test shows Gd levels ~1000 ppm to less than 0.5 ppb
Resin will saturate, ok for small scale
pH up->Gd out of solution
Filter with a mechanical filter
Settling tanks may be more useful than filter press
First method used at EGADS

## Slide 22: 240 PMTs Installed this Summer
Pure water circulation was started.
Gd-loaded test will start soon

## Slide 23: EGADS Roadmap
2009 2010 2011 2012 2013 2014 2015 2016 2017
R&D Project
Approved
Hall E Excavation
Build 200-ton Tank
Install Water Systems
15-/200-t Pure Water Runs
15-ton Tank Gd Runs
200-ton Tank Pure Water Run w/o PMTs
200-ton Tank Gd Run w/o PMTs
200-ton Tank PMT Installation
200-ton Tank Pure Water Data-taking Run
200-ton Tank Gd Data-taking Run
ATM  QBEE Electronics Upgrade
Full Galaxy Supernova Sensitivity
Fully Automated Instant Supernova Alert Capability
[M. Vagins]
EGADS will run for the indefinite future as an instant Galactic supernova detector!!!

## Slide 24: The Road to GADZOOKS!
Water in 200 ton detector currently 17.4 MΩ-cm, will soon remove extra DI unit from system
Add Gd to EGADS detector in January 2014
Run EGADS Gd detector as final proof of principle test
Full SK MC studies with additional information of scattering and absorption of Gd
May 2014->SK to decide on GADZOOKS!
So far, so good!!!!!!

## Slide 25: WATCHMAN
US based remote reactor monitoring demonstration, adopting many EGADS techniques
1 kt FV, 50 M$ Total Project Cost
Preferred site identified (IMB/Morton Salt, Ohio) and approvals obtained from mine operators
MC studies and prototype detector deployment ongoing
FY14 decision point for full detector
FY16 start of construction